## Slide 1
Streak image: 1ns time window
170x500 pixel ROI is selected
Sum of all the pixel columns to get the profile
Intensity axis 1.0 = 1e6 pixel ADC count
Are the small peaks on the profile an artifact of the instrument ? Or can we assume they come from the beam ? These are high frequency components in the order of tens of GHz. Up to which frequency we can trust the profile produced by the streak camera in the 1 ns time window operation ?